## Slide 1: Surrogate Models for Water Distribution Networks
André Artelt
Lamarr Lab Visits 2025
Dortmund, 16/02/2025

## Slide 2: Water Distribution Networks (WDNs)
Networks for delivering drinking water to consumers
  => Critical Infrastructure
Complex (sparse) spatio-temporal signals
  Changes in demand
  Events (leakages, sensor faults, contaminations, ...)
  Uncertainties
Tasks:
  Control
  Event diagnosis
  Planning
  …..

## Slide 3: Modeling of Water Distribution Networks
Modeled as a graph
Dynamics:
  Hydraulics
  Chemicals (i.e. water quality)
Dynamics described by algebraic and (partial) differential equations
Simulation = Solving equations
  Software such as EPANET-(MSX)
  EPyT-Flow
  ….

## Slide 4: Need of Surrogate Models
Solvers are
  Slow
  Not differentiable
Neural Surrogates could enhance:
  Planning
  (Model-based) Control
  Sensitivity analysis (e.g. sensor placements)
Challenges:
  Complex dynamics
  Long time horizons
  Tanks, pumps, valves
  Uncertainties
  Critical domain => Trustworthiness?

## Slide 5: Hydraulic Dynamics in WDNs
Key quantities:
  Flow
  Pressure (Head)
  Demand
Demand => Pressure & Flow
Physics
  Steady-state (assumption)
  Conversation of flows
  Conversation of energy

## Slide 6: Surrogate for Hydraulic Dynamics
Given a WDN graph
Map demands to flows and pressures
Iterative Approach:
  Estimate flows
  Reconstruct demands
  Estimate heads, demands, flows in physics-informed message passing Algo.
  => Converges to fix point!
Ashraf et al. 2024; Ashraf & Artelt et al. 2025

## Slide 7: Water Quality Dynamics
Key quantity
  Chemical concentrations
Challenge: Different chemicals & reactions
  => Lots of uncertainties!
  => No steady-state
Physics:
  Flow => Concentrations
  Transport, Mixing, and reactions
  Current work:
    Benchmarks
    GNN for advective transport

## Slide 8: Summary
Water Distribution Networks
  Graphs
  Complex dynamics
Challenges
  Sparse spatio-temporal signals
  Uncertainties
Hydraulics Surrogates
Water Quality Surrogates
Software packages on GitHub